| UAB BIOCHEMICAL GENETICS LABORATORY |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 720 South Twentieth Street, Room 634 ### Birmingham, Alabama 35294-0024 Phone: (205) 996-4992 Fax: (205) 975-2742 https://www.uab.edu/medicine/genetics/clinical-laboratories/biochemical-genetics-laboratory |  |  | *Overnight Specimen Mailing Address The UAB Biochemical Genetics Laboratory KAUL 634 720 20th Street South Birmingham, AL 35233 Attn: John Moore |  |  |  |  |  |
| Test | Description |  |  | Turn Around Time* |  | CPT codes |  | Specimen Requirements |
| Amino Acid Analysis (ion exchange chromatography) |  |  |  |  |  |  |  |  |
| Plasma | Quantitative analysis of plasma amino acids and related compounds. Provides diagnostic information pertaining to certain amino acidopathies, organic acidemias, and other metabolic conditions. |  |  | 7 days | 82139, 82542 80502 |  | A. Fasted whole blood in a green top (heparinized) tube stored at 4 C. B. At least 1 cc plasma collected from heparinized whole blood and kept frozen until transported to the lab. |  |
| Urine | Quantitative analysis of urinary amino acids and related compounds. Provides diagnostic information pertaining to certain amino acidopathies, organic acidemias, and other metabolic conditions. |  |  | 7 days | 82570, 82139 82542, 80502 |  | Urine should be collected over a 12-24 hour period, pooled and kept refrigerated. At least 5 cc of the pooled sample is needed for amino acid analysis. Store frozen until transported to the lab. |  |
| CSF | Quantitative analysis of CSF amino acids and related compounds. Provides diagnostic information pertaining to certain amino acidopathies, organic acidemias, and other metabolic conditions. |  |  | 7 days | 82139, 82542 80502 |  | A minimum of 1 cc of CSF is required for amino acid analysis. Collect on ice and store frozen. |  |
| Organic Acid Analysis (gas chromatography/mass spectrometry) |  |  |  |  |  |  |  |  |
| Urine | Semi-quantitative analysis of excreted organic acids and related compounds. Provides diagnostic information regarding organic acidemias, fatty acid oxidation disorders, and other conditions. |  |  | 7 days | 82570, 83918, 83919, 82542, 80502 |  | At least 3 cc of urine should be collected on ice. The first morning void is preferred. Store frozen until transported to the lab. |  |
| Acylcarnitine Analysis (tandem mass spectrometry) |  |  |  |  |  |  |  |  |
| Plasma | Quantitative analysis of individual fatty acid-esterified carnitine species. Provides diagnostic information regarding fatty acid oxidation disorders and organic acidemias |  |  | 7 days | 82017, 83789, 80502 |  | 1-2 cc whole blood in a green top (heparinized) tube stored at 4 C or frozen plasma. |  |
| Free/Esterified Carnitine Determination (tandem mass spectrometry) |  |  |  |  |  |  |  |  |
| Plasma | Quantitative analysis of free and esterified carnitine fractions. Complementary to acylcarnitine analysis (see below); provides diagnostic information regarding fatty acid oxidation disorders and organic acidemias. |  |  | 7 days | 82379, 83789 80502 |  | 1-2 cc whole blood in a green top (heparinized) tube stored at 4 C or frozen plasma. |  |
| Comprehensive Carnitine Analysis (tandem mass spectrometry) |  |  |  |  |  |  |  |  |
| Plasma | Combined, quantitative analysis of both free/esterified carnitine fractions and individual esterified carnitine species. Provides diagnostic information regarding fatty acid oxidation disorders and organic acidemias. |  |  | 7 days | 82017,83789 82379, 80502 |  | 2 cc whole blood in a green top (heparinized) tube stored at 4 C or frozen plasma. |  |
| Phosphoethanolamine Determination (high performance ion exchange liquid chromatography) |  |  |  |  |  |  |  |  |
| Urine | Quantitative analysis of excreted phosphoethanolamine. Provides supportive, but not diagnostic information regarding metabolic and other conditions affecting bone turnover. |  |  | 7 days | 82131, 82570 82542, 80502 |  | At least 5 cc of urine should be collected on ice. The first morning void is preferred. Store frozen until transported to the lab. |  |
| Methylmalonic Acid Determination (gas chromatography/mass spectrometry) |  |  |  |  |  |  |  |  |
| Urine | Quantitative analysis of excreted methylmalonic acid. Provides diagnostic information regarding disorders of methylmalonyl-CoA and vitamin B12 (cobalamin) metabolism. |  |  | 7 days | 83921, 82570, 82542, 80502 |  | At least 3 cc of urine should be collected on ice. The first morning void is preferred. Store frozen until transported to the lab. |  |
| Succinylacetone Determination (gas chromatography/mass spectrometry) |  |  |  |  |  |  |  |  |
| Urine | Quantitative analysis of excreted succinylacetone. Provides diagnostic information regarding disorders of fumarylacetoacetic acid hydrolase (FAH). |  |  | 7 days | 83921, 82570, 80542, 80502 |  | At least 3 cc of urine should be collected on ice. The first morning void is preferred. Store frozen until transported to the lab. |  |
| Creatine Deficiency Syndrome Analysis (liquid chromatography/tandem mass spectrometry) |  |  |  |  |  |  |  |  |
| Urine + Plasma | Quantitative analysis of excreted and circulatory creatine, guanidinoacetate, and creatinine, which provide diagnostic information regarding disorders of the creatine metabolic pathway. |  |  | 7 days | 82540(2), 82542(2), 82565, 82570, 80502 |  | Urine: at least 3 cc of urine should be collected on ice. The first morning void is preferred. Store frozen until transported to the lab. Plasma: 1-2 cc plasma collected from heparinized whole blood and stored frozen until transported to the lab. |  |

| Acylglycine analysis (mass spectrometry) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Urine | Quantitative analysis of excreted individual fatty acid-esterified glycine species. Provides diagnostic information regarding fatty acid oxidation disorders and organic acidemias |  | 7 days | 83789, 82570, 80502 | At least 3 cc of urine should be collected on ice. The first morning void is preferred. Store frozen until transported to the lab. |

*Emergency testing is available for all services upon request (TAT < 8 hrs)

Please note we will continue to bill the referring laboratory, not the individual patient.